How to Differentiate

What Is Causing the Missingness: A Three-Test Framework

| 1,765 proteins tested (≥10% detection) | 398 MNAR-LOD below detection limit | 102 MNAR-DEG pre-analytical degradation | 260 MNAR-BIO true biological absence | 925 MCAR / ambiguous random / unclear |
| --- | --- | --- | --- | --- |

# 1.  The Problem: Three Causes, One Symptom

A missing value looks identical in a spreadsheet regardless of whether it is absent because the protein was too rare to detect, because it degraded in the tube, or because it is genuinely not present in that individual. Each cause requires a completely different imputation response. Treating them all the same is the single most common error in clinical proteomics — and the one most likely to corrupt downstream pathway scores.

We have three independent, data-driven tests that together separate the four mechanisms. No single test is sufficient on its own; the power comes from reading all three together.

CORE PRINCIPLE The Three Tests Work in Orthogonal Dimensions Test A asks: 'When this protein IS detected, how intense is it?' → Tells you about the protein's inherent abundance. Low = likely rare = LOD-driven. Test B asks: 'Does this protein go missing more often in low-quality samples?' → Tells you about sample-specific degradation. Yes = labile protein = DEG-driven. Test C asks: 'Is the missingness pattern group-specific?' → Tells you about biology. Yes = the absence/presence itself IS the biology = BIO. A protein driven by LOD scores HIGH on Test A, near-zero on B and C. A protein driven by DEG scores LOW on A, HIGH on B, near-zero on C. A protein driven by BIO scores LOW on A, near-zero on B, HIGH on C. MCAR proteins score near-zero on all three.

# 2.  The Three Tests — What They Measure and How to Compute Them

## Test A:  Intensity Profile of Detected Values  (frac_low)

This test asks a simple question: when this protein IS detected, what does its intensity look like? A protein that is missing because it falls below the instrument's detection limit (MNAR-LOD) must, by definition, have low abundance whenever it IS detected — it is perpetually near the detection floor. Conversely, a protein that is missing because it degraded or because it is biologically absent in some individuals can still show full-range or high intensities when it is detected.

| Metric | Formula | What it tells you |
| --- | --- | --- |
| frac_low | Fraction of detected values for protein p that fall below the global 25th intensity percentile (P25 = 5,303 in your data) | High frac_low (> 0.55) → protein lives near the detection floor → MNAR-LOD |
| frac_high | Fraction of detected values above the global 75th percentile (P75 = 96,558) | High frac_high → protein is abundant when detected → NOT LOD-driven |
| log10 median | Median of detected values on a log10 scale | Quick visual check: log10 < 3.72 (global P25) consistently → LOD candidate |

How to compute in Python:

global_p25 = np.nanpercentile(df.values, 25)  # = 5,303 in your dataset

frac_low = (detected_values < global_p25).mean()   # per protein

REAL DATA Test A Results on Your 1,765-Protein Dataset Proteins with frac_low > 0.55: 398 → classified MNAR-LOD Examples: Lumican (frac_low=0.82, median log10=3.30), Complement factor properdin (1.00), Carboxypeptidase N catalytic chain (0.93), Beta-2-microglobulin (0.88) Proteins with frac_low < 0.35: ~1,000 → LOD is NOT the driver Examples: Ceruloplasmin (0.00, median log10=5.66) — when detected, it is HIGH abundance Antithrombin-III (0.04, median log10=4.26) — full-range intensities when present IG c704_heavy (0.00, all detections in mid-range) — not a rare protein

## Test B:  Missingness–QC Correlation  (r_miss_qc)

This is the degradation detector. If a protein goes missing specifically in samples with poorer quality anchor scores — where other stable proteins are also reduced — that co-occurrence is a strong signal that the protein's absence is caused by sample-level degradation rather than by biological state or low abundance.

We compute a per-sample QC score from five universally-detected, biochemically stable anchor proteins (Albumin, Alpha-2-macroglobulin, ApoA-I, Haptoglobin, Alpha-2-HS-glycoprotein). The score is the mean Z-score of their log10 intensities. A sample with QC = −1.5 has systematically depressed stable protein levels — a sample quality issue.

| Metric | Formula | Interpretation |
| --- | --- | --- |
| r_miss_qc | Point-biserial correlation between the protein's binary missingness indicator (1=missing, 0=detected) and the per-sample QC score | r < −0.35: protein missing in LOW-QC samples → MNAR-DEG (strong) r < −0.25: weak degradation signal → MNAR-DEG (weak) r near 0: missingness unrelated to sample quality → not degradation |
| QC score | mean Z-score of log10(anchor proteins) per sample. Range in your data: −1.6 (P4, worst) to +1.4 (C3, best) | Samples with QC < −1.5 are flagged. Their missing values should be treated as degradation-imputed, not LOD-imputed. |

How to compute in Python:

# QC score per sample

anchor_z   = (np.log10(df[anchors]) - mean) / std   # Z-score anchors

sample_qc  = anchor_z.mean(axis=1)                   # one score per sample

is_missing = df[protein].isna().astype(float)         # 1 = missing

r, p = stats.pointbiserialr(is_missing, sample_qc)   # negative r = DEG

REAL DATA Test B Results — Top Degradation-Linked Proteins Strongest degradation signal (r < −0.45): Coagulation factor XIII B chain: r = −0.557 (p = 0.001) — labile coagulation factor Pentraxin family member: r = −0.547 (p = 0.002) — acute-phase protein Proteoglycan 4 (Lubricin): r = −0.541 (p = 0.002) — glycoprotein, RT-labile Antithrombin-III (ATIII): r = −0.441 (p = 0.015) — serine protease inhibitor Transthyretin: r = −0.400 (p = 0.028) — TTR, known to denature at RT Key check: Antithrombin-III has frac_low = 0.04 (Test A says NOT rare) AND r = −0.44 (Test B says missing in low-QC samples). This combination is the MNAR-DEG signature. Using LOD/sqrt(2) for ATIII would be wrong — its median detected value is 18,076.

## Test C:  Group Exclusivity  (Fisher's Exact Test  +  Presence Pattern)

This test identifies proteins where the missingness itself is the biological signal — proteins genuinely expressed in one group but not the other. Two related metrics work together here:

| Metric | Formula | Interpretation |
| --- | --- | --- |
| Fisher's exact p-value | Fisher's exact test on the 2×2 contingency table of detected vs. missing counts in patients vs. controls | p < 0.05 with frac_low < 0.35: absence/presence is group-structured → MNAR-BIO |
| Group exclusivity | Does the protein have ≥3 detections in one group and 0 in the other? | Yes = strong MNAR-BIO signal. The biological interpretation is that one group secretes or sheds this protein and the other does not. |
| Direction | Is the protein exclusively in patients or exclusively in controls? | Patient-specific (230 proteins in your data): disease-induced upregulation/secretion. Control-specific (14 proteins): proteins lost in AD. |

How to compute in Python:

_, p = stats.fisher_exact([[P_detected, P_missing], [C_detected, C_missing]])

REAL DATA Test C Results — Biologically Exclusive Proteins PATIENT-EXCLUSIVE (≥3 patients, 0 controls, frac_low < 0.3): n = 230 proteins Ceruloplasmin: 9/20 patients, 0/10 controls ¦ frac_low=0.00 ¦ all values log10 ≥ 5.07 Complement C1s: 8/20 patients, 0/10 controls ¦ frac_low=0.12 ¦ Fisher p = 0.029 Peroxiredoxin-2: 7/20 patients, 0/10 controls ¦ frac_low=0.00 ¦ oxidative stress marker Serpin F2: 9/20 patients, 0/10 controls ¦ frac_low=0.00 ¦ fibrinolysis pathway CONTROL-EXCLUSIVE (≥3 controls, 0 patients, frac_low < 0.3): n = 14 proteins IG c704 (IGHV3-23): 0/20 patients, 4/10 controls ¦ specific Ig clonotype IGL c700 (IGKV1D-12):0/20 patients, 4/10 controls ¦ Fisher p = 0.008 These 244 proteins must NOT be imputed — their missingness IS the result.

# 3.  Combined Decision Tree — Applying All Three Tests

The three tests are applied in sequence. The order matters: group exclusivity (Test C) is checked after intensity profile (Test A) to avoid misclassifying a genuinely rare but group-biased protein as MNAR-BIO when it is actually just a low-abundance protein that happens to be detectable in one group more than the other.

| Test A frac_low | Test B r_miss_qc | Test C Fisher p | Test D Group exclusive | Classification → Imputation |
| --- | --- | --- | --- | --- |
| > 0.55 | any | any | No | MNAR-LOD LOD / sqrt(2) per protein, group-aware |
| < 0.35 | < -0.35 | > 0.05 | No | MNAR-DEG (strong) Group median × 0.7; add degradation flag |
| < 0.45 | < -0.25 | > 0.05 | No | MNAR-DEG (weak) Group median × 0.85; add degradation flag |
| < 0.35 | ≥ -0.25 | < 0.05 | Yes, ≥3 vs 0 | MNAR-BIO (exclusive) Binary indicator only — DO NOT impute values |
| < 0.35 | ≥ -0.25 | < 0.05 | No (partial) | MNAR-BIO (partial) Binary flag + LOD/sqrt(2) for missing group |
| < 0.35 | > -0.25 | > 0.05 | No | MCAR / ambiguous KNN imputation using pathway-partner donors |

NOTE The 'MCAR / ambiguous' category (n = 925) This is the largest category — not because these proteins are unimportant, but because 925 proteins do not show a strong diagnostic signal on any of the three tests. This includes: proteins with moderate detection rates, mixed missingness patterns, or sparse data that prevents reliable test statistics. For these proteins, KNN imputation using pathway-partner donors is the appropriate conservative choice. It neither invents biology (as LOD/sqrt(2) would for non-LOD proteins) nor discards information.

# 4.  Worked Examples — Four Proteins, Four Mechanisms

The following examples are taken directly from your data and show exactly how the three tests produce different reading patterns for each mechanism:

MNAR-LOD — Lumican (Keratan sulfate proteoglycan) Detection: 28/30 (93%) ¦ P: 18/20 ¦ C: 10/10

Test A — Intensity profile: frac_low = 0.82. Of 28 detected values, 82% fall below the global P25 = 5,303. Min detected = 187, median = 1,976. This protein is perpetually near the instrument floor. Test B — QC-missingness correlation: r_miss_qc = −0.32. Some tendency to be missing in low-QC samples, but this is secondary — the intensity profile tells the primary story. The r value is not extreme enough (threshold is −0.35 for DEG). Test C — Group exclusivity (Fisher): Fisher p = 0.54. No group bias — missing equally in both groups. This rules out MNAR-BIO. Verdict: MNAR-LOD → Impute with LOD/sqrt(2) = 187 / 1.414 = 132. Group-aware: LOD_patient = 187, LOD_control = 418.

MNAR-DEG — Antithrombin-III / ATIII (Serpin C1) Detection: 25/30 (83%) ¦ P: 16/20 ¦ C: 9/10

Test A — Intensity profile: frac_low = 0.04. Only 1 of 25 detected values falls below global P25. Median detected = 18,076 (log10 = 4.26) — a mid-range, healthy-abundance protein. This is NOT a rare protein. Test B — QC-missingness correlation: r_miss_qc = −0.441 (p = 0.015). When ATIII is missing, the mean sample QC score is −0.66. When it is detected, mean QC is +0.13. Difference = −0.80. ATIII goes missing specifically in samples with depressed anchor proteins — the degradation signature. Test C — Group exclusivity (Fisher): Fisher p = 0.64. No group bias — missing in 4/20 patients and 1/10 controls, no pattern. Not biological. Verdict: MNAR-DEG → Impute with group median × 0.7. Patient median (detected) × 0.7 ≈ 12,653. Add degradation_imputed flag = 1.

MNAR-BIO (patient-exclusive) — Ceruloplasmin Detection: 9/30 (30%) ¦ P: 9/20 ¦ C: 0/10

Test A — Intensity profile: frac_low = 0.00. Every single detected value is above global P75. Min detected = 116,643, median = 462,150 (log10 = 5.66). When Ceruloplasmin is present, it is at HIGH abundance — not a rare protein. Test B — QC-missingness correlation: r_miss_qc = +0.43. Ceruloplasmin is actually MORE often missing in HIGH-QC samples. This is the opposite of degradation — it reflects that good-quality samples are from controls, and controls never have this protein. Test C — Group exclusivity (Fisher): Fisher p = 0.013. Detected in 9/20 patients and 0/10 controls. The absence in all controls is categorical — not a statistical tendency, a hard boundary. frac_low = 0.00 rules out LOD. Verdict: MNAR-BIO (patient-specific) → Binary indicator only. The 0 in controls is real biology, not a missing value to impute.

MNAR-BIO (control-exclusive) — IG c704_heavy (IGHV3-23 clonotype) Detection: 4/30 (13%) ¦ P: 0/20 ¦ C: 4/10

Test A — Intensity profile: frac_low = 0.00. All four detected values are in the mid-intensity range (log10 4.55–4.85). Not a low-abundance protein when present. Test B — QC-missingness correlation: r_miss_qc = +0.06. Completely flat. Missing values show no relationship to sample quality — sample degradation is not the explanation. Test C — Group exclusivity (Fisher): Fisher p = 0.008. Detected in 0/20 patients and 4/10 controls. Perfectly reversed from the patient-specific pattern above. This Ig clonotype appears to be part of a normal humoral immune repertoire that is lost or shifted in AD. Verdict: MNAR-BIO (control-specific) → Binary indicator only. Represents a protective or normal immune signature absent in AD patients.

# 5.  Limitations and Edge Cases

## 5.1  What These Tests Cannot Distinguish

The three-test framework has clear limits that should be documented alongside any results:

- MNAR-DEG vs MNAR-LOD overlap: Lumican has frac_low = 0.82 AND r_miss_qc = −0.32. It is classified as MNAR-LOD because Test A dominates, but there may be a secondary degradation component. For such proteins, use LOD/sqrt(2) but add a 'possible degradation' annotation.

- Small n problem: With only 30 samples, Fisher's exact test has low power. A protein detected in 5/20 patients and 0/10 controls gives p = 0.16 — not significant, yet the pattern is suggestive. The group-exclusivity hard rule (≥3 vs 0) catches these cases even when Fisher p is not significant.

- Sparse proteins (10–20% detection): With only 3–6 detections, all three tests have high variance. For these, the classification should be treated as tentative and both binary and quantitative features retained.

- MNAR-DEG vs MCAR: Some genuinely random dropout (MCAR) may correlate weakly with QC scores by chance. The −0.25 and −0.35 thresholds for Test B were chosen conservatively to minimise false DEG classification.

## 5.2  The Transthyretin Case — a Biologically Important Edge Case

Transthyretin (TTR/Prealbumin) is detected in 29/30 samples (97%) and has r_miss_qc = −0.40, giving it an MNAR-DEG classification. However, TTR is of direct biological interest in AD: TTR binds and sequesters amyloid-beta, and lower TTR has been proposed as a risk factor. The degradation signal and the biological signal are potentially confounded.

EDGE CASE HANDLING Transthyretin — where degradation and biology overlap Recommendation: classify as MNAR-DEG for imputation purposes (use group median × 0.7), but flag the protein explicitly in the pathway analysis output with a note: 'TTR missingness has both degradation (r_qc = -0.40) and potential biological components. Interpret pathway scores involving TTR with caution.' This is more honest than either: (a) imputing with LOD/sqrt(2) which would incorrectly assign near-zero values to a protein at log10 ≈ 4.5 when detected; or (b) treating it as MNAR-BIO which would prevent imputation entirely for a nearly universally-detected protein.

# 6.  Implementation Checklist

Apply these steps in order before any pathway weighting or dimensionality reduction:

- Load 1,765-protein working set (≥10% detection). Apply log10 transform to all positive values.

- Compute global_p25 and global_p75 from all non-missing values in the log10 matrix.

- For each protein: compute frac_low (Test A).

- Build the sample QC score from 5 anchor proteins. Flag samples with QC < −1.5.

- For each protein with any missing values: compute r_miss_qc (Test B, point-biserial correlation).

- For each protein: run Fisher's exact test for group-biased missingness (Test C). Flag proteins with p < 0.05.

- Apply the decision tree (Section 3) to assign each protein one of: OBSERVED / MNAR-LOD / MNAR-DEG / MNAR-BIO / MCAR.

- Impute according to the matched strategy: LOD/sqrt(2) for LOD, group-median × 0.7 for DEG, binary-only for BIO, KNN for MCAR.

- Add three flag columns per protein: lod_imputed (0/1), deg_imputed (0/1), bio_binary (0/1). These flags feed into pathway weight modifiers.

- Propagate the sample QC score as a sample-level weight in the downstream pathway score aggregation.

# 7.  References

1. Lazar C et al. (2016). Accounting for the Multiple Natures of Missing Values in Label-Free Quantitative Proteomics. J Proteome Research, 15(4), 1116–1125.

2. Karpievitch YV et al. (2012). Normalization and missing value imputation for label-free LC-MS analysis. BMC Bioinformatics, 13(Suppl 16), S5.

3. Webb-Robertson BJ et al. (2015). Review, evaluation, and discussion of the challenges of missing value imputation for mass spectrometry-based label-free global proteomics. J Proteome Research, 14(5), 1993–2001.

4. Hicks LA et al. (2019). Pre-analytical variables in clinical proteomics. Bioanalysis, 11(14), 1299–1311.

5. Rubin DB (1976). Inference and missing data. Biometrika, 63(3), 581–592.

End of Document